## all dets., relative uncertainty
Uncertainty of Measurement | [5 empty] | coverage factor k = | 2 |  |  |  |  | Traceable standard | [6 empty] | Recovery data | [5 empty] | PT data |  |  |  | robust mean multiplier | 1 | Note: PT results are for comparison only | [29 empty] | means
Determinand | Method | Matrix | section | units | relative expanded UoM % | rel. bias uncertainty | AQC standard | control chart mean | control chart st. dev. | rel. within lab. reproducibility | AQC rel bias % | reference value | reference uncertainty | measured value | no. replicates | Relative measured uncertainty | relative bias | rel. bias uncertainty | mean recovery % | no. measurements | Rel. rms deviation % | Rel. uncert'y of sol'n conc | Rel. uncert'y of vol. added | rel. bias uncertainty | assigned value | own lab. result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | assigned value | own lab result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | assigned value | mean, lab result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | assigned value | mean, lab result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | assigned value | mean, lab result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | assigned value | mean, lab result | relative bias | reprod'y st.dev. | no. labs | rel. uncert'y, ass'd value | rel. uncert'y, ass'd value | Relative rms deviation | rel. bias uncertainty | NOTES
|  |  | symbol (ISO11352) |  | Urel | ub,rel | Cref | cj | srw | uRw,rel | brel | Cref | uCref | cj | nM | uRw,rel | brel | ub,rel | η | nη | brms,rel | uconc, rel | uadd,rel | ub,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | uC-ref,i,rel | Drms,rel | ub,rel
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
Determinand | Method | Matrix | section | symbol (ISO11352) | Urel | ub,rel | Cref | cj | srw | uRw,rel | brel | Cref | uCref | cj | nM | uRw,rel | brel | ub,rel | η | nη | brms,rel | uconc, rel | uadd,rel | ub,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | cass | c | Di,rel | sR,i,rel | np,i | uC-ref,i,rel | uC-ref,i,rel | Drms,rel | ub,rel
|  |  |  | formula | k.√(ub,rel2+uRw,rel2) | (cj - Cref)/Cref |  |  |  | srw/cj | (cj - Cref)/Cref |  |  |  |  | srw/cj | (cj - Cref)/Cref | √(brel2+(uRw)2/n+(uc.ref/Cref)2) |  |  | √∑b2/n |  |  | √(brms,rel2+uconc,rel2+uadd,rel2) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) | (∑uc-ref,i,rel)/n | √∑Di2/n | √(uC-ref,i,rel2+Drms,rel2)

## pH, uncertainty
Uncertainty of Measurement | [5 empty] | coverage factor k = | 2 |  |  |  |  | Traceable standard | [6 empty] | Recovery data | [5 empty] | PT data |  |  |  | robust mean multiplier | [31 empty] | means
Determinand | Method | Matrix | section | units | expanded UoM | bias uncertainty | AQC standard | control chart mean | control chart st. dev. | within lab. reproducibility | AQC bias | reference value | reference uncertainty | measured value | no. replicates | measured uncertainty | bias | bias uncertainty | mean recovery % | no. measurements | rms deviation % | uncert'y of sol'n conc | uncert'y of vol. added | bias uncertainty | assigned value | own lab. result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | assigned value | own lab result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | assigned value | own lab. result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | assigned value | own lab result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | assigned value | own lab. result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | assigned value | own lab result | bias | reprod'y st.dev. | no. labs | uncert'y, ass'd value | rel. uncert'y, ass'd value | Relative rms deviation | rel. bias uncertainty | NOTES
|  |  | symbol (ISO11352) |  | U | ub | Cref | cj | srw | uRw | b | Cref | uCref | cj | nM | uRw | b | ub | η | nη | brms | uconc | uadd | ub | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | uC-ref,i | Dmean | ub
[5 empty] | 0 | no bias | [13 empty] | not an option for pH
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
[5 empty] | 0 | no bias
Determinand | Method | Matrix | symbol (ISO11352) |  | U | ub | Cref | cj | srw | uRw | b | Cref | uCref | cj | nM | uRw | b | ub | η | nη | brms | uconc | uadd | ub | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | cass | c | Di | sR,i | np,i | uC-ref,i | uC-ref,i | Dmean | ub
|  |  |  | formula | k.√(ub,rel2+uRw,rel2) | (cj - Cref)/Cref |  |  |  | srw/cj | (cj - Cref)/Cref |  |  |  |  | srw/cj | (cj - Cref)/Cref | √(brel2+(uRw)2/n+(uc.ref/Cref)2) |  |  | √∑b2/n |  |  | √(brms,rel2+uconc,rel2+uadd,rel2) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) |  |  | (c - Cass)/Cass |  |  | (sR,i,rel)/√(np,i) | (∑uc-ref,i,rel)/n | √∑Di2/n | √(uC-ref,i,rel2+Drms,rel2)